## Report
id | refrigerants | sources | manufacturer | name | series | operation_mode | trl_min | trl_max | trl_description | circuit | n_circuits | circuit_configuration | circuit_infos | sink | min_thermal_capacity | max_thermal_capacity | el_connection_voltage | el_connection_phase | el_connection_frequency | el_connection_power | min_flow_temperature | max_flow_temperature | min_temp_source | max_temp_source | t_hub_max | cop | compressor | n_compressor | filling_quantity | min_load | lifespan | length | width | height | weight | weight_max | weight_description | evaporator_inlet | evaporator_outlet | compressor_regulation | condenser_inlet | condenser_outlet | sound_power | sound_pressure_1m | sound_pressure_10m | installation_type | space_requirements | room_height_requirements | comment | updated | verified | information_source | information_source_archive | information_source_date | slug
1349 | R717 (Ammoniak), R718 (Wasser) | feuchte Heißluft (Air), Wasser/Sole (Brine/Water) | Aneo Industry | FRIGG 1,5 | FRIGG | H | 8 | 8 | Standardized heat pump solution | MIX | 2 | Kaskade |  | Prozessdampf | 200 | 600 | 400 | 3 | 50 |  | 105 | 120 | 20 | 40 | 110 |  | Kolbenverdichter + Schraubenverdichter | 6 |  | 40 | 15 |  |  |  | 35000 | [11 empty] | 70 |  | Standardisierte Wärmepumpen-Lösung für 2 ton/h Prozessdampf. | 2025-05-22 | TRUE |  |  | 2025-05-19 | aneo-industry-frigg-15
1350 | R717 (Ammoniak), R718 (Wasser) | Dampf (Steam), Luft (Air), Wasser/Sole (Brine/Water) | Aneo Industry | FRIGG 4,5 | FRIGG | H | 8 | 8 |  | MIX | 2 | Kaskade |  | Prozesswärme | 300 | 1200 | 400 | 3 | 50 |  | 110 | 145 | 35 | 85 | 110 |  | Kolbenverdichter + Schraubenverdichter | 8 |  | 40 | 20 |  |  |  | 45000 | [11 empty] | 100 |  | Kundenspezifischer Anlagenbau/tailor-made engineering Höhere Heizleistungen sind möglich. | 2025-05-22 | TRUE |  |  | 2025-05-19 | aneo-industry-frigg-45