## Report
id | refrigerants | sources | manufacturer | name | series | operation_mode | trl_min | trl_max | trl_description | circuit | n_circuits | circuit_configuration | circuit_infos | sink | min_thermal_capacity | max_thermal_capacity | el_connection_voltage | el_connection_phase | el_connection_frequency | el_connection_power | min_flow_temperature | max_flow_temperature | min_temp_source | max_temp_source | t_hub_max | cop | compressor | n_compressor | filling_quantity | min_load | lifespan | length | width | height | weight | weight_max | weight_description | evaporator_inlet | evaporator_outlet | compressor_regulation | condenser_inlet | condenser_outlet | sound_power | sound_pressure_1m | sound_pressure_10m | installation_type | space_requirements | room_height_requirements | comment | updated | verified | information_source | information_source_archive | information_source_date
1042 | HFKW, HFO, Natürlich | Luft (Air), Wasser/Sole (Brine/Water) | Atlas Copco Energas GmbH | Turbocompressor Driven Industrial Heat Pumps | Turbocompressor Driven Industrial Heat Pumps | H |  | 9 |  | BOT |  |  |  | Fernwärme, Prozessdampf, Prozesswärme | 10000 | 50000 |  |  |  |  | 80 | 300 |  |  |  |  | Turboverdichter | [21 empty] | Kundenspezifischer Anlagenbau | 2025-01-13 | FALSE | https://www.atlascopco.com/gas-and-process/en/campaign/cut-the-carbon/industrial-heat-pumps