## Report
id | refrigerants | sources | manufacturer | name | series | operation_mode | trl_min | trl_max | trl_description | circuit | n_circuits | circuit_configuration | circuit_infos | sink | min_thermal_capacity | max_thermal_capacity | el_connection_voltage | el_connection_phase | el_connection_frequency | el_connection_power | min_flow_temperature | max_flow_temperature | min_temp_source | max_temp_source | t_hub_max | cop | compressor | n_compressor | filling_quantity | min_load | lifespan | length | width | height | weight | weight_max | weight_description | evaporator_inlet | evaporator_outlet | compressor_regulation | condenser_inlet | condenser_outlet | sound_power | sound_pressure_1m | sound_pressure_10m | installation_type | space_requirements | room_height_requirements | comment | updated | verified | information_source | information_source_archive | information_source_date
162 | R718 (Wasser) | Abwasser (Brine/Water), Abwärme (Air), Abwärme (Brine/Water), feuchte Heißluft (Air), Kältemittel (Refrigerant), Wasser/Sole (Brine/Water) | EPCON Evaporation Technology AS | MVR-HP | MVR-HP | H |  | 9 |  | BOT |  |  |  | Prozessdampf, Wasser, andere Flüssigkeiten | 200 | 100000 |  |  |  |  | 60 | 210 | 50 | 200 | 120 |  | Radialventilator, Kompaktventilator, Turboverdichter, Kolbengebläse | UNBEKANNT |  | 70 | 20 | [8 empty] | Drehzahl, Anströmwinkel | [5 empty] | Container, Betonfundament, Skid |  |  |  | 2025-01-08 | TRUE