## Report
id | refrigerants | sources | manufacturer | name | series | operation_mode | trl_min | trl_max | trl_description | circuit | n_circuits | circuit_configuration | circuit_infos | sink | min_thermal_capacity | max_thermal_capacity | el_connection_voltage | el_connection_phase | el_connection_frequency | el_connection_power | min_flow_temperature | max_flow_temperature | min_temp_source | max_temp_source | t_hub_max | cop | compressor | n_compressor | filling_quantity | min_load | lifespan | length | width | height | weight | weight_max | weight_description | evaporator_inlet | evaporator_outlet | compressor_regulation | condenser_inlet | condenser_outlet | sound_power | sound_pressure_1m | sound_pressure_10m | installation_type | space_requirements | room_height_requirements | comment | updated | verified | information_source | information_source_archive | information_source_date
1385 | R1234ze(E), R515B (R1234ze(E)/ 227ea) | Wasser/Sole (Brine/Water) | Rhoss Deutschland GmbH / Rhoss S.p.a. | FullFlow-I Booster ECO | FullFlow | H&C | 8 | 9 |  | CLO |  |  |  | Gebäudewärme | 400 | 1000 | [5 empty] | 85 |  |  |  |  | Schraubenverdichter | [22 empty] | 2025-07-09 | TRUE |  |  | 2025-07-09
1383 | R454B | Luft (Air) | Rhoss Deutschland GmbH / Rhoss S.p.a. | WinPower ECO | WinPower | H&C | 8 | 9 | Serienprodukt | CLO |  |  |  | Gebäudewärme | 350 | 810 | [5 empty] | 58 |  |  |  |  | Scrollverdichter | [22 empty] | 2025-07-09 | TRUE |  |  | 2025-07-09
1384 | R454B | Luft (Air) | Rhoss Deutschland GmbH / Rhoss S.p.a. | WinPower ECO Twin | WinPower | H&C | 8 | 9 | Serienprodukt | CLO |  |  |  | Gebäudewärme | 860 | 1310 | [5 empty] | 58 |  |  |  |  | Scrollverdichter | [22 empty] | 2025-07-09 | TRUE |  |  | 2025-07-09