## Report
id | refrigerants | sources | manufacturer | name | series | operation_mode | trl_min | trl_max | trl_description | circuit | n_circuits | circuit_configuration | circuit_infos | sink | min_thermal_capacity | max_thermal_capacity | el_connection_voltage | el_connection_phase | el_connection_frequency | el_connection_power | min_flow_temperature | max_flow_temperature | min_temp_source | max_temp_source | t_hub_max | cop | compressor | n_compressor | filling_quantity | min_load | lifespan | length | width | height | weight | weight_max | weight_description | evaporator_inlet | evaporator_outlet | compressor_regulation | condenser_inlet | condenser_outlet | sound_power | sound_pressure_1m | sound_pressure_10m | installation_type | space_requirements | room_height_requirements | comment | updated | verified | information_source | information_source_archive | information_source_date | slug
505 | R1234ze(Z) | Abwärme (Brine/Water), Umweltwärme (Brine/Water) | Siemens Energy | SHP-C600/C750 | SHP-C600/C750 | H&C |  | 9 | TRL = 9 bis zu 90 °C Senkentemperatur | CLO |  |  |  | Prozesswärme, Nahwäme, Fernwärme | 15000 | 45000 | [5 empty] | 150 |  |  | 100 |  | Turboverdichter |  |  | 30 | [9 empty] | Drehzahlgeregelt | [9 empty] | 2025-01-08 | FALSE |  |  |  | siemens-energy-shp-c600c750
506 | R1234ze(Z) | Abwärme (Brine/Water), Umweltwärme (Brine/Water) | Siemens Energy | SHP-STC-XX W/S | SHP-STC-XX W/S | H&C |  |  |  | CLO |  |  |  | Prozesswärme, Prozessdampf, Fernwärme | 5000 | 70000 | [5 empty] | 100 |  |  | 100 |  | Turboverdichter |  |  | 30 | [9 empty] | Drehzahlgeregelt | [9 empty] | 2025-01-08 | FALSE |  |  |  | siemens-energy-shp-stc-xx-ws