## Report
id | refrigerants | sources | manufacturer | name | series | operation_mode | trl_min | trl_max | trl_description | circuit | n_circuits | circuit_configuration | circuit_infos | sink | min_thermal_capacity | max_thermal_capacity | el_connection_voltage | el_connection_phase | el_connection_frequency | el_connection_power | min_flow_temperature | max_flow_temperature | min_temp_source | max_temp_source | t_hub_max | cop | compressor | n_compressor | filling_quantity | min_load | lifespan | length | width | height | weight | weight_max | weight_description | evaporator_inlet | evaporator_outlet | compressor_regulation | condenser_inlet | condenser_outlet | sound_power | sound_pressure_1m | sound_pressure_10m | installation_type | space_requirements | room_height_requirements | comment | updated | verified | information_source | information_source_archive | information_source_date | slug
1337 | R718 (Wasser) | Abwasser (Brine/Water), Abwärme (Steam) | TLT-Turbo GmbH | Vapor Fans | Vapor Fans | H | 7 | 9 |  | MVR |  | Reihenschaltung von Ventillatoren |  | Prozessdampf |  | 5000 | 1000 | 3 | 50 |  |  | 170 |  |  |  |  | Turboventilator | unbegrenzte Anzahl möglich | [11 empty] | Drehzahlgeregelt | [5 empty] | Anlagenbau auf Fundament |  |  | Kundenspezifischer Anlagenbau mit max. 11 K Temperaturhub pro Verdichter. Besonderheiten des TLT-Designs: Durch die eingesetzte Hybrid-Lagerung, wird keine Ölversorgung benötigt. Die hohe Steifigkeit der Lagerung ermöglicht es, die Maschine grundsätzlich im unterkritischen Drehzahlbereich zu betreiben. | 2025-03-17 | TRUE |  |  | 2025-03-17 | tlt-turbo-gmbh-vapor-fans